## org_data
Organizational Data
Experiment Title | Elucidating the Influence of the d-Band Center on the Synthesis of Isobutanol
Experiment-ID | 000000-1
Measurement-ID | 000000-1-3
Upload date | 15/11/2022
Measurement date | 16/12/2022
Institution | FZJ IEK-15, FZJ IEK-16
Founding body | HIP, ABBC
Country | Germany, France
Authors list | Gupta, Max
ORCID | IUHB567B56, OIJDH98475
Access conditions | public
Published | https://doi.org/10.3390/catal11030406
Topic | Fuel Cells
Device | ElectrochemicalCell
Component | WorkingElectrode
Subcomponent | ClothGDL
Material | CarbonBlack
Granularity Level | Nanostructure
Characterization Data
Measurement type | SEMImaging
Specimen | homogeneous powder
Sample preparation
Step | Precursor | Amount | Technique | Condition | Target | Amount
1 | WorkingElectrode, AcidicElectrochemicalCell, Cathode | 34 mm, 24 mm, 87mm | SamplePreparation | Duration:24 hour, Temperature: 20 °C | F30E | 5 mm
2 | F30E, StainlessSteelBasedCarbonBasedCoatedBipolarPlate, LampBlack | 5mm, 25 mm, 56 mm | MaterialsManufacturing | Temperature: 50 °C, Duration: 10 min, ElectricCurrent:250 pA, Energy:5 keV | PTFESubstrate | 6 mm
3 | PTFESubstrate, PaperLinedCell, BatteryCell | 6mm, 3 mm, 33 mm | 5LayerMEAManufacturing | Duration:24 hour | Polyepoxide | 26 mm
4 | Polyepoxide, IonicLiquidElectrolyte, NafionMembrane | 26mm, 2 mm, 8 mm | AdditiveManufacturing | Duration:34 min | ClothGDL | 16 mm
5 | ClothGDL, ElectricCurrentCollector | 16mm, 30 mm | FuelCellManufacturing | Temperature:12 mm | CarbonBlack | 7 mm
Characterization environment
Temperature/ °C | 23
Humidity/ % | 50
Atmosphere | air
Pressure/ atm | 1
Equipment setup
Microscope | Zeiss Gemini Ultra plus
Acceleration voltage/ kV | 20
Magnification | 250
Cathode | LaB6
Working distance/ mm | 8.5
Probe | Electron beam
Detector | InLens
Imaging technique
Signal | Secondary electrons
Time lapse/ s | 30
Raw data | electron images
Data adquisition rate | -
Calibration | adjusting lenses and apertures adjusting the voltage | #Description in steps ( bulletpoints)
Main data preprocessing
Step | Precursor | Amount | Technique | Condition | Software/ algorithm | Target | Amount
1 | Raw image |  | Contrast adjustment | factor = 1 |  | Int1
2 | Int1 |  | Brightness adjustment | factor = 1 |  | Post-processed image
Main data analysis procedure
Step | Precursor | Amount | Technique | Condition | Software/ algorithm | Target | Amount
1 | Post-processed image |  | Manual particle measurement |  | Software = ImageJ | Average size | 110 um
Technical Data
Format | tiff
File size / MB | 1
File name | Test.tif
Data type | 8 bit Gray
Dimension x | 1024
Dimension y | 1024
Scale / px per metric | 8.1
Mask | yes
Mask link | link
Synthesis/Fabrication Workflow
Step | Precursor | Amount | Technique | Condition | Target | Amount
1 | LampBlack | 26mm | 5LayerMEAManufacturing | Duration: 10 min, ElectricCurrent:250 pA, Energy:5 keV | Polyepoxide | 5 mm
Performed experiments
Surface Analysis (H2 Chemisorption experiment)
Stoichiometric value (H*:Ms) | 1
Dispersion / % | 46
Diameter / nm | 2.2
Surface Analysis (N2 Physiosorption experiment BET)
BET / m2/g | 980.06
Total Pore Volume / mL/g | 0.68
Pore Radius / A | 18.13
EDX Analysis
Metal | Pd
Metal / wt% | 4.19
C / wt% | 89.85
O / wt% | 6.24
Ca / wt% | -
Si / wt% | -
Al / wt% | -
P / wt% | -
Catalytic Experiment
Conditions
Reaction time / h | 4
Temperature / °C | 150
m(Cat) / mg | 250
c(NaOH) / mmol/L | 450
c(EtOH) / mmol/L | 600
Solvent | MeOH
Solvent volume / mL | 70
Internal Standard | Dodecane
Internal Standard concentration / mmol/L | 15
Pressure / atm | 1
Atmosphere | H2
Experiment
Cat | Pd/C
Cat / wt% | 5
EDX / wt% | 4.19
e(d) / eV | -1.83
STY / mmol/hg | 0.10
TOF / h | 4
Acetaldehyde Yield/Selectivity | -
Acetaldehyde Yield/Selectivity | -
Propanal Yield / % | -
Propanal Selectivity / % | -
n-Propanol Yield / % | 0.31
n-Propanol Selectivity / % | 28.02
i-Butanol Yield / % | 0.81
i-Butanol Selectivity / % | 71.44